Calculations of CB polarimeter  on the base of  e+e- pairs photoproduction on nuclei in amorphous target

F. Adamyan, K. Dallakyan, H. Hakobyan, Zh. Manukyan, A. Sirunyan, H. Vartapetian

Yerevan Physics Institute, Armenia

To directly measure the linear polarization of coherent bremsstrahlung (CB) with peak energy of 1 GeV at Yerevan synchrotron using symmetric 
[image: image32.wmf])

6

(

4

5

2

2

2

2

5

+

-

+

+

-

+

+

+

-

+

-

W

W

=

d

d

dP

d

P

E

E

d

d

du

dydu

d

s

g

g

j

j

s

g

 pairs incoherent production in amorphous target, a simple polarimeter is proposed  on the base of bending magnet equipped with hodoscopes of scintillating counters positioned above and below of the median plane. Monte-Carlo calculations show that the use of vertical slit collimation at the entrance of the magnet allows to improve both analyzing power and energy resolution. Obtained analyzing power is app. 0,3 for  20mkm thick Al-converter and   energy resolution  (Е( = 9 MeV .

Introduction

At present, coherent bremstralung (CB) photon beams are widely used to study photonuclear reactions. To carry out experiments with CB beams, it is necessary to know their polarization with a high accuracy. Photon beams linear polarization is mainly determined by means of calculation methods at the CB theory basis [1 – 3] and measured photon intensity spectra [4 – 6].

To determine the polarization by direct methods, it is most efficient to use 
[image: image2.wmf]-

+

e

e

 pairs photoproduction processes on nuclei in amorphous targets [7] and crystals [8], or in atomic  electrons [9]. In the case of amorphous target the correlation between the plane of emitted pair’s fragments and direction of photon polarization is exploited.
The aim of this work is in CB direct polarimetry development and its Monte-Carlo study  on the base of  
[image: image3.wmf]-

+

e

e

 pairs photoproduction on nuclei in amorphous target in the 1 GeV energy range at Yerevan synchrotron .

1. Method of 
[image: image4.wmf]-

+

e

e

 pairs incoherent production on nuclei in the amorphous target for photons’ beam linear polarization measurement.

To measure linear polarization of high energy photons in refs. [7, 8], it was for the first time proposed to use Z((,
[image: image5.wmf]-

+

e

e

) pairs production process on nuclei in the amorphous target. The azimuthal asymmetry of 
[image: image6.wmf]-

+

e

e

 pair distribution with momentum Pe+ and Pe-, polar (( ((( and azimuthal ((( (( angles are used to analyze the photon polarization with 4 momenta k (k, E() and polarization vector P (fig. 1). This method exploits the angular correlation between photon beam polarization plane, involving polarization vectors P and  k, and the plane of emitted  lepton (electron or positron), having its momentum Pe-(Pe+) and  k.

Azimuthal asymmetry or analyzing power is defined as a:



             
[image: image7.wmf]^

II

^

II

+

-

=

s

s

s

s

A

,





(1)

where 
[image: image8.wmf]II

s

 - cross section to emit pair into the plane parallel to polarization plane  and 
[image: image9.wmf]^

s

 - into  perpendicular one.  This ratio has a large value, when  (( - (( ~ ( (complanar pairs).  L. Maximon and H. Olsen [9] showed that it is possible to reach a  large values of analyzing power (1) by selecting (
[image: image10.wmf]-

+

e

e

) pairs over narrow angular range (( around the complanar direction (nearly complanar pairs).

  Orientation of emitted pair`s plane in respect to the photon polarization plane and the analysing power strongly depends on the experiment’s geometry. In refs [9 – 12] various possible experimental methods were proposed: to register nearly coplanar pairs,  emitted over narrow angular range (( (wedge method) or over polar angles interval (( (ring method). As is shown in ref [13] the high analyzing power may be obtained if symmetric 
[image: image11.wmf]-

+

e

e

 pairs are selected combining both wedge and ring methods. In the case of 
[image: image12.wmf]-

+

e

e

 pairs selection in energy range 0,475 ( Ee+e/E( ( 0,525 and over polar angles interval 0,2 mrad ( (e+e ( 0,4 mrad , the analyzing power  up to  0.43 may be obtained. 

 This combination of the above-indicated methods allowed us to develop a polarimeter with  analyzing power up to A = 0.3 for  the photon energy range of 1 GeV on the base of bending magnet. 

To calculate the 
[image: image13.wmf]-

+

e

e

 pairs yield by linearly polarized photons in amorphous target we used analytical expressions of  differential cross section from ref.[13]:

            
[image: image14.wmf]+

-

+

-

-

D

-

=

j

j

x

p

s

s

d

d

du

du

X

X

dy

y

y

d

pol

unp

2

2

3

2

2

0

5

)

(

)

1

(



(2)

where 
[image: image15.wmf],

2

2

0

a

s

r

Z

=

  Z – nuclear charge, r – classical electron radius , ( = 1/137, 
[image: image16.wmf],

g

E

E

y

±

=

 
[image: image17.wmf]m

E

u

±

±

±

=

q

, (3 – Stocks parameter, determining the linear polarization  ((3 = +1, -1 in the case, when the polarization vector P is parallel or perpendicular to Z – axe direction (fig. 1). In formulae (2) the following notations are presented:




[image: image18.wmf]2

2

2

2

2

)

cos(

2

b

j

j

d

+

-

+

+

+

=

D

-

+

-

+

-

+

u

u

u

u

m

 ,


(3)



[image: image19.wmf])]

cos(

2

[

)

(

2

1

)

(

2

2

2

-

+

-

+

-

+

-

+

-

+

-

+

+

+

-

=

j

j

x

x

j

x

x

u

u

u

u

y

X

unp

   ,              (4)

            
[image: image20.wmf])

cos(

2

2

cos

2

cos

2

2

2

2

-

+

-

+

-

+

-

-

-

+

+

+

+

+

+

=

j

j

x

x

j

x

j

x

u

u

u

u

X

pol

    ,              (5)

where

[image: image21.wmf],

)

1

(

)

1

(

)

(

y

y

y

y

y

-

+

-

=

j

 
[image: image22.wmf]),

1

(

1

2

±

±

+

=

u

x

 
[image: image23.wmf]),

1

(

2

2

y

y

E

m

-

=

g

d

- minimum momentum transfer, and   
[image: image24.wmf]3

1

1

4685

.

0

)

(

-

-

=

=

Z

R

m

b

   - screening radius.

A formulae (2) presents 5-dimensional differential cross section depending of energy and angular variables of pairs’ fragments (
[image: image25.wmf]±

±

+

j

q

,

,

E

):

[image: image1.wmf]-

+

e

e


2. Yerevan synchrotron experimental conditions and CB polarimeter for photon linear polarization measurement.

At the beginning of 70-s a linearly polarized photon beam was obtained at the Yerevan synchrotron [15] and many polarization experiments were carried out. To determine the photon beam polarization several calculation methods were used on the base of measured CB intensity spectrum. In ref.[16,17] a methods of  linear polarization calculation were proposed on the base of intensity spectra measurement with evaluated accuracy range 1-2% in the working region of CB (E(/E(peak = 15-20%. Calculations of polarization (P() showed an independency of atomic form factors choice, giving a  coinciding results within accuracy 2% in the mentioned energy range [18]. 

Starting from that we may cross-check a consistency of calculation methods and of direct polarimetry one, subtracting as well the correct type of an atomic form-factor. 

We propose to carry out experimental measurements of photon beam polarization P(exp in energy range E( = 900 - 1100 MeV within 2% accuracy. The CB intensity spectrum will be controlled in parallel by an available 30 channel pair spectrometer PS-30 [19], providing energy resolution of (E(/E( ~ 1,5%.

 A scheme of the experimental set up with polarimeter is presented at fig. 2. A linearly polarized photons beam is collimated to 0,17 mrad upon passing through the collimators K1, K2 and sweeping magnets SM1 and SM2 and strikes thin 10 mkm  lavsan converter C1 at the entrance of the pair spectrometer.

The polarimeter is located downstream of the beam just after pair spectrometer and consists of an amorphous converter (C2), 20 mkm thick Al, a collimator (K3) – vertical slit with 2cm width providing necessary azimuthal selection of pair fragments and bending magnet (PS-12) with hodoscopes of scintillating counters positioned above and below the median plane for registering 
[image: image26.wmf]-

+

e

e

symmetric pairs (fig. 3). Distance from converter C2 to collimator (K3) is 15,8 m and to telescope counters -18,5 m. The tracing of 
[image: image27.wmf]-

+

e

e

 pair will be realized in the vacuum of the beam pipe. No influence of  C1 converter is expected as a possible source of charged background, 

3. Monte-Carlo simulation of proposed polarimeter for photon linear polarization measurement  and calculation results.

In order to optimize the polarimeter’s geometry, including sizes of hodoscopes counters, collimator (K3) and their positions, Monte-Carlo calculations of luminosity, energy resolution and analyzing power  were carried out.

Calculations accounted all experimental conditions, including shape of CB spectrum, sizes of the beam in converter, multiple scattering, topography of  PS-12 magnetic field et al. 

Simulation of (
[image: image28.wmf]-

+

e

e

) pair production was carried out using analytical expressions of differential cross section (2) by Neumann’s method [ 21].   

 The calculation of e+e- pairs trajectory in PS-12 was performed by Runge-Kutt method for the system of equations for particle movement [20].  

                                          
[image: image29.wmf]]

[

VxH

c

e

dt

dP

=

                                                                     (7)

 Simulation of ( e+e- ) pair tracing included multiple scattering in C2 according to ref.[21] and accounted for corresponding  energy losses [22].

Algorithm of Monte-Carlo code is following – for each event were played:

· the energy E( of primary photon,

· the coordinates (x, y, z) of an interaction point in converter C2,

· the electron momenta Pe- , pair particles polar (((( ((( and azimuthal (((( ((( angles by the given differential cross section (6).

On the base  of obtained (Pe-, Pe+,((( ((, ((( ((( values, the components of pair (Px, Py, Pz) momenta were calculated in order to trace them in the magnetic field of PS-12   taking into account the energy losses and multiple scattering. At first, aimed to find the optimal polarimeter geometry with required energy resolution (((((((( and analyzing power (A) , as well as acceptable (e+e-) pair yields, the counters’ vertical position (Z) relative the median plane was studied. In fact this position corresponds to lower limit of registered polar angles range. In fig. 4 the dependences of Figure of merit F (curve a) and analyzing power A (curve b) of Zmin  (vertical shifting of counters) is presented. As it is seen the most acceptable value is Zmin = 1cm, which corresponds to polar angle ((min = 0,4 mrad) for registered particles in the momentum interval P = 460 – 540 MeV/c.

As (- beam energy is continuous, pairs are widely distributed both in momentum and azimuthal angles which doesn`t allows to obtain the good  resolution after magnetic analysis.. As an illustration of this effect, fig. 5(a) shows the geometry range of counters along the X direction, perpendicular to magnetic field, corresponding to registration of pairs with momentum  P = 475, 500 and 525 MeV/c in the interval of ( 8 MeV/c, respectively. As it is seen , pair’s momentum resolutions are smeared out and their separation with good resolution is not possible.

 However it was found (see fig. 6), that resolution is improved with restriction of pair’s the azimuthal angles’ range (((( using collimator with vertical slit. Fig. 6(a) shows the primary angular distribution of  (e+e-) pair ( polar and azimuthal angles) without collimation (0,4mrad <(e+e-< 2,8mrad and (( ( ( 60(). In the case of collimation  (fig. 6b) with slit width of ((x( ( 1cm, the azimuthal distribution of  pair is narrower ((( ( ( ((() and the upper limit of polar angles is slightly cutted (0,4mrad <(e+e-< 2,5mrad). As is seen from fig.5 (b), the registered ranges of counters are separated and momentum resolutions of symmetric pairs are no worse than ( 1,5%. In the fig. 5(c) for the case of E(peak = 1GeV and ((((((( ( 20%) the cross section of collimator with 2 cm width and 8 cm height is presented. The inside square with 1,4 x 1,4 cm2 corresponds to (-beam profile in the place of its location and shaded areas ( 0,9 cm  ( (Zc( ( 4 cm) to ranges of registered pairs in counters positioned at (z = (1cm distance from median plane of  PS-12. It is important to mention that instead of a collimator a thin scintillation counters operating in coincidence with hodoscopes (fig. 5c) may be used. As Monte-Carlo calculations confirmed the symmetric pairs registration will be realized in  “cross” geometry: “up” – electron, “down” – positron or the contrary.

In fig. 7 the profiles of symmetric (e+e- ) pair in the hodoscopes are presented. Energy distributions of symmetric (e+e- ) pair in the hodoscopes are shown at fig. 8, where the analyzed data are fitted by Gauss distribution . So, for symmetric pairs registration using 3 hodoscope elements in e+ and e- arms of polarimeter (12 in total), a good energy resolution (((( = 9MeV) may be obtained in the photon energy range E( = 950-1050 MeV. In the case of aluminum target the dependence of analyzing power A from the converter (C2) thickness is presented in fig. 9. As it is seen from figure, an increase of converter’s thickness from 20 mkm  to 50 mkm leads to analyzing power decrease app.2 times. Using Monte-Carlo calculation data, as well as the differential cross section distribution (fig. 10), the expected experimental yields of symmetric e+e- pairs has been estimated at photon beam intensity of 109 eq.photon/sec and aluminum target’s thickness of 20 mkm on the level of  10 – 20 Hz. 

Results of Monte-Carlo calculation for analyzing power (A) and Figure of merit (F) are presented in Tables 1 and 2.

Table 1.   Analyzing power, 
[image: image30.wmf]^

II

^

II

+

-

=

s

s

s

s

A


E(, MeV
1000 ( 70
950 ( 20
1000 ( 20
1050 ( 20

d = 20mkm
0.29 ( 0.02
0.28 ( 0.02
0.31 ( 0.02
0.28 ( 0.02

d = 50mkm
0.16 ( 0.02
0.16 ( 0.02
0.14 ( 0.02
0.17 ( 0.02

Table 2.  Figure of merit, F = A2I

E(, MeV
1000 ( 70
950 ( 20
1000 ( 20
1050 ( 20

d = 20mkm
10-4
0.98 x 10-5
0.74 x 10-5
0.77 x 10-5

d = 50mkm
0.4 x 10-4
0.39 x 10-5
0.18 x 10-5
0.34 x 10-5

Conclusion
On the base of Monte-Carlo calculations a simple CB polarimeter for direct measuring linear polarization of photon beam with peak energy of 1 GeV at Yerevan synchrotron has been developed by method of incoherent pairs production in amorphous target. It is shown that using the collimator with vertical slit allows to obtain a good energy resolution ((E( = 9MeV) in the photon energy range E( = 900 - 1100 MeV. Polarimeter’s analyzing power is app. 0,3 for 20 mkm thick Al-converter.

Acknowledgements

Authors express their gratitude to R. Avagyan, A. Aganyants, S.Darbinyan and S. Taroyan for useful discussions.

The work is supported by CRDF grant (CRDF AP2-2305-YE-02).

Figures captions

Fig. 1. Kinematics of the process Z((, е+е-).

Fig. 2. Scheme of the experimental setup

Fig. 3. Sketch of the polarimeter PS-12

Fig. 4. Dependence of Figure of merit F (curve a) and analyzing power A (curve b) of  Zmin  (vertical shifting of counters from the polarimeter’s median plane) in the case of  Е(peak =1 GeV.

Fig. 5. Geometry range of counters corresponding to registration of pairs along the direction X with momentum P = 475, 500 and 525 MeV/c in the interval of ( 8 MeV/c, respectively:

a) without a collimator

b) with a collimator – vertical slit with ( (X ( ( 1 сm

c) the cross section of collimator.

Fig. 6. Polar and azimuthal distributions of (е+,е-) pairs:

a) without a collimator

b) with a collimator ( (X ( ( 1 сm.

Fig. 7. The profiles of symmetric (е+,е-) pairs in the hodoscopes .

Fig. 8. Energy distributions of symmetric (e+e- ) pair in the hodoscopes of polarimeter PS-12 (resolution (Е = 9 MeV).

Fig. 9. The dependence of analyzing power (A) on the converter (C2) thickness in the case of aluminum target.

Fig. 10. Distribution of differential cross section for symmetric (е+,е-) pairs production on polar angle (+ and primary photon energy E(..

REFERENCES

[1] Uberall H., Phys.Rev., v.103,4, (1956)1055 

[2] Uberall H., Phys.Rev., v.107,1, (1957 233 

[3] Diambrini-Palazzi G., Rev.Mod.Phys., v.40,3, (1968) 611 

[4] Bologna G. et al. Nuov. Cim., v.XLII A,N4 (1966) 844

[5] Timm U. DESY –69/14 (1969) 

[6] Lohmann D. et al. NIM A 343,4, (1994) 494

[7] Yang C.N., Phys.Rev. 77 (1950) 722

[8] Berlin J.H.,Madansky L., Phys.Rev.78 (1950) 623

[9] Maximon L.C. and Olsen H. Phys.Rev. 126 (1962) 310

[10] Barbielini G. et al. Phys.Rev.Lett.,v.9 (1962) 396

[11] Kobayashi M. and Kondo K. NIM 104 (1972) 101

[12] Wojtsekhowski B. et al. CLAS-NOTE 98-018,(1998)

[13] Avagyan R. et al. hep-ex/9908048 v.2 (1999)

[14] Olsen H. and Maximon L.C. Phys.Rev., v.114 (1959) 887

[15] Avakyan R.. et al. Izvestia Acad.Nauk Arm.SSR, Physics,v.10 (1975) 61

[16] Hakobyan H. et al. Sov.J.VANT,v.4(30) ,(1986) 34

[17] Hakobyan H. and Karapetyan G., YERPHI-1138(15)-89 (1989)

[18] Darbinyan S. et al. YERPHI ( to be published) 2003

[19] Avetisyan A. et al. YERPHI-1325(20)-91 (1991)

[20] Sirunyan A. et al. YERPHI-491(34)-81 (1981)

[21] Particle Data Group, Review of Particle Properties.Phys.Rev.D45 (1992)

[22] Star B. et al. Springer Tracts in Modern Physics,v.124 (1993)

� EMBED Equation.3  ���

















PAGE  
2

[image: image31.wmf])

6

(

4

5

2

2

2

2

5

+

-

+

+

-

+

+

+

-

+

-

W

W

=

d

d

dP

d

P

E

E

d

d

du

dydu

d

s

g

g

j

j

s

g

_1125913135.unknown

_1126686044.unknown

_1126686419.unknown

_1126688400.unknown

_1126865823.unknown

_1127288240.unknown

_1126864739.unknown

_1126686458.unknown

_1126686352.unknown

_1126686388.unknown

_1126686320.unknown

_1125913194.unknown

_1125913263.unknown

_1125914122.unknown

_1125913143.unknown

_1125913036.unknown

_1125913075.unknown

_1125913091.unknown

_1125913053.unknown

_1125909885.unknown

_1125910366.unknown

_1125912195.unknown

_1125913026.unknown

_1125912156.unknown

_1125909914.unknown

_1125909817.unknown

