## Slide 1
Diamond Radiator Development
Brendan Pratt
University of Connecticut
GlueX Collaboration Meeting, Jefferson Lab, October 2011

## Slide 2
Completed Project Hurdles
Pulse energies of over 120mJ
Ablation energies available for >8hours continuous running
Laser Leak rates >>10mbar/day
Ablation Chamber assembled and holding vacuum
Chiller system installed allowing for maximum rep rate (50Hz)
Computer model of beam spot, optics line installed
X-Y translation stage built and mounted to chamber
External trigger circuit completed
Data acquisition of beam pulse energies
LabView programs written to control translation stage, triggering system, and data acquisition.

## Slide 3: Ablation Setup
Translation Stage
Energy Sensor
Ablation Chamber
Lens

## Slide 26: What’s Next
Believe Asymmetric beam spot is due to misalignment of the laser’s end reflector
Once shape and milling depth/energy is understood we will begin processing 20micron diamonds.