## Slide 1: Status of the Tagger Microscope, Active Collimator, and Diamond Radiators
Alex Barnes, Brendan Pratt, Jim McIntyre
University of Connecticut

## Slide 2: Outline
Tagger Microscope
  QA and installation pictures
  Status update
Active Collimator
  Assembly and installation pictures
  Status update
Diamond radiator update

## Slide 3
Fiber Testing

## Slide 4
Travelers
https://docs.google.com/spreadsheets/d/1cjj6p-OVIR4cCQZWzbyLG4as_u3RQJ7Jt6vbKmPDzgY/edit?usp=sharing
Fiber Testing

## Slide 5
Storing Fibers for Shipment

## Slide 6
Packaging the Microscope for Shipment

## Slide 7
Delivery to ESB at JLab

## Slide 8
216
Screws
Installation of Optical Fiber Bundles

## Slide 9
Side View
Mylar Reflector
Installation of Optical Fiber Bundles

## Slide 10
Filled with
Granular Poly.
Shielding
Installation of Shielding

## Slide 11
Installation of Shielding

## Slide 12
+
=
=
Larger
Light Tight
Air Vent
Required
Installation of Darkening Shroud

## Slide 13
Mounting the Microscope

## Slide 14
Moving to the Tagger Hall

## Slide 15
Moving to the Tagger Hall

## Slide 16: Microscope Status
Installed, surveyed and cabled
Stepper motors tested, fibers lowered
Immediate work
  Set up and test the DAQ
  Want days of cosmics, need at least dark rate measurements
Future work
  Reduce internal pressure from air cooling system
  Add two more holes for cabling
  Control and monitoring software
  Data monitoring and calibration

## Slide 17: Control and Monitoring Software
Interface for controlling TAGM power supplies
Interface for controlling SiPM preamps
  Bias voltages (15 SiPMs x 34 boards = 510 voltages)
  Gainmode (1x, 14x)
Interface for controlling TAGM alignment
  3 stepper motors
Interface for slow controls monitoring
  DAC health voltage (1 for each control board, 17 total)
  Preamp reference voltages (1 per preamp, 34 total)
  Preamp temperatures (1 per preamp, 34 total)
  Alarms for values outside of acceptable ranges
The libraries have been written and are waiting to be implemented
  Until then will need a “slow controls ROC” on a local computer with a private Ethernet jack to talk to our frontend

## Slide 18: Data Monitoring and Calibration
Pulse height spectra in the TAGM counters
Time spectra relative to the accelerator clock
Total rates per TAGM channel
Calibrate the total pulse height
Measure pedestals for all fADCs
Measure time-pulse height correlations to derive optimal time-walk corrections
Run in raw mode occasionally to make sure pulse window is properly aligned with actual pulses relative to trigger
Things to monitor online for the tagger microscope

## Slide 19
Active Collimator

## Slide 20: Active Collimator Status
Fully assembled and installed
Electrical contact between RF connector and screw verified
Preamp shield box constructed and installed
Readout electronics have been finished and installed
Readout electronics tested using a signal injected into the preamps
Controls software in progress

## Slide 21: Diamond Radiator Status
Brendan Pratt
University of Connecticut

## Slide 22: Simulation of background generation
initial design concept

## Slide 23: A Better Concept from Ken Livingston

## Slide 24
Prints by: Vladislav Razmyslovich

## Slide 25
Prints by: Vladislav Razmyslovich

## Slide 26: Now We just need to create the “dog ear”

## Slide 27: UC30-14-C225

## Slide 29: What’s Next?
Keep refining ablation process until “turn key”
  Thin (3) JD70 diamonds
Proposal submitted for upcoming CHESS run
  characterize thinned JD70’s
Begin machining diamond goniometer mount (next 2 weeks)
Waiting for thinned JD70-1 from collaborator SINMAT
  Originally 1.3mm, will be thinned using VPIE to 0.350mm then RCMP to 0.300mm.