Experimental study of photon beam polarimeter based on nuclear
 e+ e- pair production  in an amorphous target
F.Adamyan, A.Aganyants,  H.Hakobyan, J.Manukyan,

R.Oganezov, L.Sargsyan, A.Sirunyan*) and H.Vartapetian
Yerevan Physics Institute, Armenia

R.Jones

University of Connecticut, USA

Abstract
The experimental method of the linearly polarized photons  polarimetry, using incoherent e+ e- - pair production process has been  investigated on the beam of coherent bremsstrahlung (CB) photons in the energy  range  of 0.9 – 1.1 GeV at the Yerevan synchrotron.  
Introduction
 Direct methods for linearly polarized (CB) photons polarimetry is possible to realize by measuring azimuthal asymmetry of   e+ e- - pairs photoproduction  in an oriental crystal [1], in an amorphous target [2] or  atomic electrons [3]. The precise CB polarimetry may also be realized by means of  calculational methods were based on the measured CB intensity spectrum  and shape analysis [4,5].
In the recent article [6], description of  CB polarimeter for directly measuring the linear polarization a photon beam   is presented, exploiting an azimuthal dependence  of  incoherent  e+ e-  pair photoproduction on a  nuclei within a narrow  ranges in both of polar ∆θ and  azimuthal ∆φ angles [7].  The Monte Carlo simulations have shown a feasibility of  polarimetry  precision in the level of σp =0.02  at CB energy range Eγ  = 0.9-1.1 GeV if symmetric e+e- pairs are selected. 
 In this paper we are presenting and discussing the results of polarimeter’s  experimental study, which has been recently constructed and installed in a γ-2 beam line of YERPHI’s  electron synchrotron, also experimental results of the first measurements on CB photon beam with maximal energy Eγ= 2,55 GeV  are presented . 
1.Method of  polarization measurement
The analyzing power or azimuthal asymmetry of incoherent e-e+ pairs production process is defined as:

                                          
[image: image1.wmf]^

II

^

II

+

-

=

s

s

s

s

A

,                                                 (1)

where  ((( , ((  are the differential  cross-sections for the azimuthal angle of  pair production plane  parallel , perpendicular to the plane of  photon polarization.
For the cross-sections calculations, an analytical expressions of ref. [8] are used, where the degree of linear polarization is described in the terms of Stokes parameter (3. The values of (3= +1, -1 correspond to 100% of linear polarization (Pγ =1) both for the polarization orientation perpendicular and parallel to the production plane. 
The CB photon beam linear polarization (Pγ < 1) is related to a measured asymmetry by
                                        Pγ =  Aexp / AMC                                            (2)
where Aexp  is  the experimental asymmetry  and AMC is the Monte-Carlo simulation result, calculated for Pγ =1. The simulation includes modeling pair production using differential cross-sections with atomic form-factors [6,9], all experimental conditions and details of polarimeter PS-6.  An application of the expression (2) assumes an equality of CB’s intensity and polarization spectra. The precision of Pγ determination depends on the statistic and systematic uncertainties in the values of Aexp   and AMC, so the full simulation is really needed, aimed to define and hold under control all sources of the systematic uncertainties.          
2. Layout of the experimental setup

The sketch of experimental setup arrangement in a γ-2 beam line is presented in Fig.1.  The beam of linearly polarized photons [10], generated by 2.55 GeV electrons on a diamond crystal, is collimated and cleaned by the set of collimators K1, K2 and sweeping magnets SM1, SM2 to a angular divergence of the beam to a half-angle of  0.17 mr and  passes through 10µm of thin Mylar converter (C1) located at the entrance of PS-30 pair spectrometer. The pair spectrometer allows to measure a CB intensity spectrum simultaneously in the thirty energies points with energy resolution δEγ/Eγ=0.02 [11]. An integral intensity of the photon beam is measured by Wilson quantameter (Q).The polarimeter PS-6 includes a 20 µm  thickness  aluminum converter (C2),  vertical slit collimator (K3), which provides angular selection of the emitted e+ e-  pairs, and horizontally bending magnet equipped with a six telescopes of  the scintillating counters, three hodoscope elements (N1÷N3) in each arm (Fig.2).The vertical slit, installed in the vacuum pipe, has been made of 6 cm thickness lead and has a 26 mm width, 80 mm height, while γ-beam profile has a 16x16 mm2. The telescopes are formed by the coincidence of three small forward counters and one big backward counter. The left and right telescopes are shifted up and down relative to a median plane of PS-6 spectrometer, allowing to select the symmetric e+ e-  pairs. The PS-6 hodoscopes are located 19.9 m downstream of the C2 converter and select polar angles range. The full beam line between the collimator K2 and the exit of PS-6 is vacuum pumped, allowing to decrease the multiple scattering influence. The hodoscopes counters widths of N1÷N3 are chosen to be 2.5, 5.0 and 2.5 cm, that corresponds to a 5 independent energy bins with energy resolution of σE = 12, 20 and 12 MeV for  symmetric combination of registered pairs at CB peak setting to 1000 MeV. The vertical movement of the telescopes is performed distantly with precision of  0.1mm.
3. Monte-Carlo simulations and polarimeter alignment 
The detailed presentation of Monte Carlo calculations is done in ref. [6]. Here we are considering and discussing an influence of some experimental uncertainties to the polarimeter’s   analyzing power. The precision of the polarimeter geometry in a sense  is  quite important , involving in particular a precision in positioning of  the telescopes in the vertical (z)  and  horizontal (x,y)  directions also alignment of the  vertical slit relative the photons’ beam. Above  mentioned  uncertainties  may become a source of the systematic errors if the geometry of  Monte Carlo simulations differs from the actual one.  In this respect a number of calculations has been done to define an expected dependences and elaborate a necessary experimental tests for the geometry control. 
The Fig.3 shows dependence  of  the analyzing power AMC, calculated for  Cromer-Waber form factor [6] and for energy of the peak in CB photon spectrum Eγpeak = 1.0 GeV from the  vertical shift (Δz)  of  the central telescopes 
(N 2L , N 2R) relative the median plane  with  and without the vertical-slit installed. The experimental study of AMC‘s  z dependence and its annulling within the limits of the statistical and systematical uncertainties in the vicinity  of z ≈ 0,  is an important test  of the polarimeter performance. As can be seen in the Fig. 3, the most optimal value for z selection is the low gradient flat zone around z=10 mm. An uncertainty in the z setting may mainly arise due to the uncertainty of the median plane position at the location of telescopes. 
A test is proposed to determine the position of the median plane. At the fixed vertical gap between the up and down telescopes, the z-scan around expected position of the median plane is performed (see Section 4).  Fig.4 shows a Monte-Carlo calculation results obtained for configuration of PS-6 z=0 . 
An influence of x-coordinate uncertainty of the beam position in the median plane has been investigated. The shift of the telescopes toward the x-direction leads to AMC asymmetry changes as it is shown in Fig.5 for the central telescopes (N2up x N2down).

For the experimental check of PS-6 detectors positioning symmetry around vertical and horizontal axes (z, x) is necessary to measure and compare the coincidence rates for the detectors configurations presented in Fig.6. The Monte-Carlo calculations for these configurations gave a compatible results within the limits of statistical uncertainties. 

   An energy calibration of polarimeter PS-6 is the strict test for the detectors positioning along x. Fig.7 shows a nice linear dependence of the energy measured by PS-6 central bin versus the magnetic field value, calculated by means of  the magnetic field map.
An application of all the proposed tests allows to determine the actual geometry of the polarimeter and evaluate an expected systematic errors in the values of measured asymmetry.
4. Results of the first meaurements

The measurements have been carried out on the beam of linearly polarized photons at the CB peak energy setting to Eγ =1000 MeV. The spectrum in the peak region was measured and monitored each 3 minutes and peak position controlled. In the case of the peak energy shift above ΔEγ/Eγ=0.02 due to beam instability, the data taking was blocked and crystal angles automatically tuned and spectrum re-measured to confirm its quality before restart. Fig.8 shows the typical measured CB spectra for the vertical and horizontal beam polarizations. The photons polarization was calculated according to a scheme developed in ref. [4,5] and for the  central energy bin (Eγ=1000±20MeV) is equal to Pγ=0.53 ± 0.02. 
The energy calibration of PS-6 channels represents the strict test of the measured CB shape compatibility with one measured by PS-30 pair spectrometer. Fig.9 shows the normalized each to other spectra in the peak region measured simultaneously by PS-30 (full curves) and PS-6 (points). As is seen from figure the spectra are quite similar, no notice able shift is observed in between. 
The data on the vertical z-scan at fixed Δz = 0 are shown in Fig.4 together with  Monte Carlo simulation results. As can be seen in the figure, Monte Carlo predictions satisfactorily describes the experimental data. From Monte Carlo z-dependence Gaussian fit result for the mean value error obtained is app. 0.1 mm. These two tests have established a reachable precision of the geometrical arrangement of a PS – 6 detectors.
As a test of the apparatus systematic uncertainties, coming in particular from the beam, detectors and monitoring system instabilities, the measurements of CB spectra with disoriented crystal (amorphous spectrum) has been carried out and coincidence rate of PS-6 telescopes compared with the average of the rate, obtained for two orthogonal orientations of photons polarization at CB peak energy of 1000 MeV. The obtained difference of those rates, normalized to the number of photons, didn’t exceed 2-3%(stat.), as it was expected. 
  Unfortunately the tight time schedule of accelerator’s work didn’t allow to fulfill the test on the vertical slit positioning, without which one may achieve  a source of visible change in analyzing power Aexp, so we  have made  the  preliminary measurements without slit. The measurements were carried out at Δz=10mm, the half-height of the gap between the counters above the polarimeter PS-6 median plane and those below it, and at CB peak energy 1000 MeV. The asymmetry value Aexp = 0.098 ± 0.011(stat.) was obtained. The systematic error in this value comes mainly from the geometrical adjustment uncertainty, that has been evaluated by means of Monte Carlo simulations. The conservative evaluations in the case of polarimeter without slit for the adjustment precision in the x,z plane:  σx  =  σz = 1mm   corresponds  to  the  Aexp  uncertainty  on the level of app. 0.003.
With this level of systematic uncertainties and increased statistics one may  reach a polarization measurement precision in the level of  0.02- 0.03.

Knowledge of AMC asymmetry and calculated photons polarization Pγ allow to determine an expected asymmetry using an expression (2). The results are shown in Fig.10 as a function of Δz  together with the measured value of Aexp. As is seen from figure, the values of expected and measured asymmetries are agreed well within the error bars. 
As it was mentioned in the beginning of the section 3 the measurements of the z-dependence of Aexp  asymmetry and its comparison  to  a Monte Carlo predictions is an important test of the polarimeter performance as well as allows an extraction of  the atomic form factor over the polarimeter acceptance  range.
Unfortunately these measurements was not accomplished by the reasons mentioned above.
5. Conclusion
Although the time shortness didn’t allow to reach a planned precision of CB polarimetry in the level of 0.02-0.03, an experimental method was reliably tested in many details and expected feasibility confirmed. This activity will be continued and we hope to carry out all necessary measurements with full set of the tests, particularly on  the correct positioning of the vertical slit which shall noticeable increase the analyzing power of polarimeter by app. 0.25 .
Acknowledgements 

Authors are indebted to the synchrotron staff and his leader Valery Nikogosyan  for their efforts of  accelerator running, directorate of YERPHI for the support and funding. The work was also supported by CRDF grant AP2-2305-YE-02, that is acknowledged. 
Figure captions
Fig.1. Layout of the experimental setup

Fig.2. Sketch of the polarimeter PS-6

Fig.3. The z-dependence of the AMC asymmetry with and without slit (solid and 
 dashed curves respectively), where z = (zup-zdown)/2 is the half-height of  the      gap in z between the up and down counters. The energy of CB peak is set to Eγ= 1.0 GeV.

Fig.4. The z-dependence of calculated and experimental yields of (N2upx N2down) coincidences at fixed vertical distance between up and down telescopes  

          z = 0.
 Fig.5.The x-dependence of AMC asymmetry for the central telescopes (N2upx N2down) of PS-6 at fixed z=10mm, where x is defined as a shift of the central telescope relative to its symmetry configuration.
Fig.6. Testing the axial symmetry of PS-6 telescopes’ configuration 

(a) an initial position of the telescopes (N2upx N2down)
(b) the final configuration after successive rotations around vertical and horizontal axes 
Fig.7. The calculated dependence between the photons’ energy registered  by

           the central bin and  the magnet’s  field value of   PS-6.

Fig.8. An intensity spectra of  PS-30 pair spectrometer measured at CB peak energy setting to Eγpeak= 1.0 GeV for both vertical and horisantal orientations of the photon beam polarization..

Fig.9. An intensity spectra in a CB peak region (Eγpeak=1.0 GeV) measured simultaneously by PS-30 and  PS-6.

Fig.10. An expected z-dependence of AMC calculated for the central energy bin of PS-6 for the photons polarization Pγ=0.53±0.02 An experimental result  presented is measured at z setting to 10mm. 
Reference

[1] H. Uberall, Phys.Rev., v.103,4, (1956)1055, 

      H. Uberall, Phys.Rev., v.107,1, (1957 233 

[2] H. Olsen, L.C. Maximon, Phys.Rev. 114 (1959) 887,

      G. Barbielini et al., Phys.Rev.Lett.,v.9 (1962) 396     

[3] L.C. Maximon, H.A. Gimm,  Phys.Rev. A 23 N1 (1981) 172

      V.F.Boldyshev et al., Phys.Part .Nucl. 25 (1994) 292
[4] S.Darbinyan et al.,NIM A 554 (2005)75   
[5]  H.Hakobyan et al., YERPHI-908(59)-86 (1986)

      H.Hakobyan , G.Karapetyan, YERPHI-1138 (15)-89 (1989)
[6] F.Adamyan et al., NIM A 546 (2005) 376

[7] L.C. Maximon, H. Olsen, Phys.Rev. 126 (1962) 310

[8] R. Avagyan et al. hep-ex/9908048 v.2 (1999)

[9] J.H.Hubbell et al.,J.Phys.Chem.Ref.Data, v.4, N3, 1975
[10] R. Avakyan et al. Izvestia Acad.Nauk Arm.SSR, Physics,v.10 (1975) 61
[11] A Avetisyan. et al., YERPHI-1325(20)-91 (1991)
PAGE  
4

_1125909817.unknown

